## Readme
PTI-TELDETECT - WP 6: Instrumentation AET spectroscopy thematic group
Workshop: UAV sensors: inter-comparison and vicarious calibration using low cost panels
Vicarious Calibatrion of TIR images
El Socorro Experimental Farm (DATI project)
Ground temperature measurements of low cost reference 50x50cm panels (white, grey and black) were taken with the FLIR TG54 thermal gun during UAV overpasses
The thermal gun takes measurements over an area aproximately 1:24 (about 4cm over a 1m height)
For each measurment, a 30 second cycle was used to obtain the mean and range of temperature over that time period
Three different sheets contain the measurmentrs for the white, grey and black panels developed by the CSIC-Tec4Agro-INIA team
All measurements are in degrees Celsius (ºC)
Meteo indicators:
0 = clear sky
1 = scattered clouds, sun not occluded
2 = scatterd clouds, sun occluded
3 = overcast
Data columns include data, time in local time (UTC+2) and time in UTC+0, mean temperature, range of temperature and notes/comments

## white
date | time_local | time_utc | mean | range | meteo | Notes
2022/09/16 | 11:42 | 9:42 | 22.6 | 4.8 | 0
2022/09/16 | 11:44 | 9:44 | 22.9 | 2.8 | 0 | Issue with data acquisition. Not recommended to use
2022/09/16 | 11:47 | 9:47 | 23 | 1.8 | 0
2022/09/16 | 11:51 | 9:51 | 23.3 | 3.2 | 0
2022/09/16 | 12:06 | 10:06 | 23.9 | 2.1 | 0
2022/09/16 | 12:17 | 10:17 | 24 | 2.9 | 0
2022/09/16 | 12:21 | 10:21 | 24.6 | 2.8 | 0
2022/09/16 | 12:27 | 10:27 | 24.7 | 3.6 | 0
2022/09/16 | 12:29 | 10:29 | 23.5 | 2.7 | 1
2022/09/16 | 12:49 | 10:49 | 25.2 | 2.4 | 2
2022/09/16 | 12:50 | 10:50 | 25.5 | 2.4 | 2
2022/09/16 | 12:57 | 10:57 | 22.5 | 1.8 | 1
2022/09/16 | 13:07 | 11:07 | 26.7 | 1.9 | 2
2022/09/16 | 13:10 | 11:10 | 28.1 | 2.7 | 2
2022/09/16 | 13:15 | 11:15 | 29.6 | 2.6 | 2
2022/09/16 | 13:22 | 11:22 | 25.6 | 1.9 | 1
2022/09/16 | 13:23 | 11:23 | 24.5 | 2.1 | 1
2022/09/16 | 13:29 | 11:29 | 22.7 | 2.4 | 1
2022/09/16 | 13:39 | 11:39 | 28.1 | 2.5 | 1
2022/09/16 | 13:46 | 11:46 | 30.2 | 2.2 | 1

## grey
date | time_local | time_utc | mean | range | meteo | Notes
2022/09/16 | 11:41 | 9:41 | 42.5 | 2.5 | 0
2022/09/16 | 11:43 | 9:43 | 43.2 | 4 | 0 | Issue with data acquisition. Not recommended to use
2022/09/16 | 11:47 | 9:47 | 43.2 | 4 | 0
2022/09/16 | 11:51 | 9:51 | 43.4 | 2.1 | 0
2022/09/16 | 12:05 | 10:05 | 46.5 | 2.6 | 0
2022/09/16 | 12:17 | 10:17 | 46.7 | 1.5 | 0
2022/09/16 | 12:20 | 10:20 | 49.6 | 2.2 | 0
2022/09/16 | 12:24 | 10:24 | 49 | 2 | 0
2022/09/16 | 12:28 | 10:28 | 49.1 | 2.4 | 1
2022/09/16 | 12:48 | 10:48 | 44.5 | 2.9 | 2
2022/09/16 | 12:50 | 10:50 | 47.6 | 2.3 | 2
2022/09/16 | 12:57 | 10:57 | 32.6 | 2.2 | 1
2022/09/16 | 13:07 | 11:07 | 51.3 | 3 | 2
2022/09/16 | 13:09 | 11:09 | 55.2 | 2 | 2
2022/09/16 | 13:14 | 11:14 | 55.5 | 2.7 | 2
2022/09/16 | 13:21 | 11:21 | 49.7 | 3.5 | 1
2022/09/16 | 13:23 | 11:23 | 39.6 | 6.8 | 1
2022/09/16 | 13:29 | 11:29 | 32.7 | 5.3 | 1
2022/09/16 | 13:39 | 11:39 | 51.5 | 4.5 | 1
2022/09/16 | 13:46 | 11:46 | 60 | 2.5 | 1

## black
date | time_local | time_utc | mean | range | meteo | Notes
2022/09/16 | 11:40 | 9:40 | 49.3 | 2.5 | 0
2022/09/16 | 11:43 | 9:43 | 49.8 | 9.7 | 0 | Issue with data acquisition. Not recommended to use
2022/09/16 | 11:46 | 9:46 | 51.2 | 2.8 | 0
2022/09/16 | 11:51 | 9:51 | 51.1 | 2.9 | 0
2022/09/16 | 12:05 | 10:05 | 55.3 | 2.2 | 0
2022/09/16 | 12:16 | 10:16 | 53.9 | 3.1 | 0
2022/09/16 | 12:20 | 10:20 | 57.4 | 2.8 | 0
2022/09/16 | 12:23 | 10:23 | 57.1 | 1.8 | 0
2022/09/16 | 12:27 | 10:27 | 59.2 | 3.4 | 1
2022/09/16 | 12:48 | 10:48 | 44.5 | 4.6 | 2
2022/09/16 | 12:49 | 10:49 | 55.7 | 2.9 | 2
2022/09/16 | 12:56 | 10:56 | 34.8 | 2.1 | 1
2022/09/16 | 13:07 | 11:07 | 59.9 | 1.9 | 2
2022/09/16 | 13:09 | 11:09 | 63.9 | 1.3 | 2
2022/09/16 | 13:13 | 11:13 | 66.3 | 3 | 2
2022/09/16 | 13:20 | 11:20 | 59.8 | 1.4 | 1
2022/09/16 | 13:23 | 11:23 | 47.3 | 1.3 | 1
2022/09/16 | 12:28 | 10:28 | 37.2 | 2.8 | 1
2022/09/16 | 13:38 | 11:38 | 59.6 | 2.1 | 1
2022/09/16 | 13:45 | 11:45 | 69.6 | 1.3 | 1